## Sheet1
Lifecycle Status | Manufacturer | Part Number | Series | Description | Replacement Part Number | Item # | Bin Location | Installed Quantity | Recommended Spares | Storeroom Quantity | PMA Quantity | P2 Quantity | Stash Quantity | Insufficient Spares | Excess Spares | List Price | Installed Total | Recommended Total | Storeroom Total | PMA Total | P2 Total | Stash Total | Insufficient Total | Excess Total
ACTIVE | ROCKWELL | 1734-4IOL |  | POINT I/O 4CHANNEL IO-LINK MASTER MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 455.72 | 911.44 | 455.72 | 0 | 0 | 0 | 0 | 455.72 | 0
ACTIVE | ROCKWELL | 1734-AENT |  | POINT I/O ETHERNET NETWORK ADAPTOR | NOT AVAILABLE | 69006985, 69008678 |  | 26 | 2 | 12 | 0 | 0 | 0 | 0 | 10 | 728.85 | 18950.1 | 1457.7 | 8746.2 | 0 | 0 | 0 | 0 | 7288.5
ACTIVE | ROCKWELL | 1734-AENTR |  | POINT I/O DUAL PORT NETWORK ADAPTOR | NOT AVAILABLE |  |  | 87 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 866.44 | 75380.28 | 1732.88 | 0 | 0 | 0 | 0 | 1732.88 | 0
ACTIVE | ROCKWELL | 1734-CTM |  | POINT I/O COMMON TERMINAL MODULE | NOT AVAILABLE |  |  | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 45.24 | 0 | 0 | 180.96 | 0 | 0 | 0 | 0 | 180.96
ACTIVE | ROCKWELL | 1734-EP24DC |  | POINT I/O EXTENSION POWER MODULE | NOT AVAILABLE |  |  | 52 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 270.21 | 14050.92 | 540.42 | 540.42 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1734-FPD |  | POINT I/O FIELD DISTRIBUTOR MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 152.46 | 304.92 | 152.46 | 0 | 0 | 0 | 0 | 152.46 | 0
ACTIVE | ROCKWELL | 1734-IA4 |  | POINT I/O 4 POINT DIGITAL INPUT MODULE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 194.61 | 389.22 | 194.61 | 194.61 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1734-IB8 |  | POINT I/O 8 POINT DIGITAL INPUT MODULE | NOT AVAILABLE |  |  | 172 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 164.86 | 28355.92 | 329.72 | 329.72 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1734-IB8S |  | 8 CHANNEL SFTY SINKING INP MOD PN-25132 | NOT AVAILABLE |  |  | 217 | 3 | 0 | 0 | 0 | 0 | 3 | 0 | 686.39 | 148946.63 | 2059.17 | 0 | 0 | 0 | 0 | 2059.17 | 0
ACTIVE | ROCKWELL | 1734-IE2C |  | POINT I/O 2 POINT ANALOG INPUT MODULE | NOT AVAILABLE |  |  | 9 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 435.07 | 3915.63 | 435.07 | 0 | 0 | 0 | 0 | 435.07 | 0
ACTIVE | ROCKWELL | 1734-IE2V |  | POINT I/O 2 POINT ANALOG INPUT MODULE | NOT AVAILABLE | 69007327 |  | 14 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 415.24 | 5813.36 | 415.24 | 830.48 | 0 | 0 | 0 | 0 | 415.24
ACTIVE | ROCKWELL | 1734-IE4C |  | POINT I/O 4 POINT ANALOG INPUT MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 690.43 | 1380.86 | 690.43 | 0 | 0 | 0 | 0 | 690.43 | 0
ACTIVE | ROCKWELL | 1734-IK |  | POINT I/O INCREMENTAL ENCODER INTERFACE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 390.45 | 390.45 | 390.45 | 0 | 0 | 0 | 0 | 390.45 | 0
ACTIVE | ROCKWELL | 1734-IT2I |  | POINT I/O 2 POINT THERMOCOUPLE INPUT | NOT AVAILABLE |  |  | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 473.51 | 1894.04 | 473.51 | 473.51 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1734-OB8 |  | POINT I/O 8 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 116 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 184.27 | 21375.32 | 368.54 | 552.81 | 0 | 0 | 0 | 0 | 184.27
ACTIVE | ROCKWELL | 1734-OB8E |  | POINT I/O 8 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 242.95 | 971.8 | 242.95 | 0 | 0 | 0 | 0 | 242.95 | 0
ACTIVE | ROCKWELL | 1734-OB8S |  | 8 CHANNEL SAFETY SOURCING OUTPUT MODULE | NOT AVAILABLE |  |  | 154 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 797.89 | 122875.06 | 1595.78 | 797.89 | 0 | 0 | 0 | 797.89 | 0
ACTIVE | ROCKWELL | 1734-OE2C |  | POINT I/O 2 POINT ANALOG OUTPUT MODULE | NOT AVAILABLE |  |  | 8 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 447.47 | 3579.76 | 447.47 | 894.94 | 0 | 0 | 0 | 0 | 447.47
ACTIVE | ROCKWELL | 1734-OE2V |  | POINT I/O 2 POINT ANALOG OUTPUT MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 432.59 | 865.18 | 432.59 | 0 | 0 | 0 | 0 | 432.59 | 0
ACTIVE | ROCKWELL | 1734-OW4 |  | POINT I/O 4 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 17 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 239.23 | 4066.91 | 239.23 | 717.69 | 0 | 0 | 0 | 0 | 478.46
ACTIVE | ROCKWELL | 1734-SSI |  | POINT I/O SSI ENCODER MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 443.76 | 443.76 | 443.76 | 0 | 0 | 0 | 0 | 443.76 | 0
ACTIVE | ROCKWELL | 1756-A10 |  | CONTROLLOGIX 10 SLOTS CHASSIS | NOT AVAILABLE |  |  | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 981.17 | 11774.04 | 981.17 | 981.17 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1756-A13 |  | CONTROLLOGIX 13 SLOTS CHASSIS | NOT AVAILABLE |  |  | 48 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 1179.43 | 56612.64 | 2358.86 | 1179.43 | 0 | 0 | 0 | 1179.43 | 0
ACTIVE | ROCKWELL | 1756-A17 |  | CONTROLLOGIX 17 SLOTS CHASSIS | NOT AVAILABLE |  |  | 16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1385.33 | 22165.28 | 1385.33 | 1385.33 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1756-A7 |  | CONTROLLOGIX 7 SLOTS CHASSIS | NOT AVAILABLE |  |  | 14 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 805.77 | 11280.78 | 805.77 | 0 | 0 | 0 | 0 | 805.77 | 0
ACTIVE | ROCKWELL | 1756-EN2T |  | CLX HI-CAP ENET/IP MODULE - TP | NOT AVAILABLE | 69004802 | SR3S7B3 | 50 | 2 | 2 | 1 | 0 | 0 | 0 | 1 | 4194.1 | 209705 | 8388.2 | 8388.2 | 4194.1 | 0 | 0 | 0 | 4194.1
ACTIVE | ROCKWELL | 1756-EN2TR |  | 2-PORT CLX HI-CAP ENET/IP MODULE - TP | NOT AVAILABLE |  |  | 65 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 4537.25 | 294921.25 | 9074.5 | 0 | 0 | 0 | 0 | 9074.5 | 0
ACTIVE | ROCKWELL | 1756-EN3TR |  | CONTROLLOGIX ETHERNET MOTION MODULE | NOT AVAILABLE |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5846.31 | 35077.86 | 5846.31 | 0 | 0 | 0 | 0 | 5846.31 | 0
DISCONTINUED | ROCKWELL | 1756-ENBT |  | CONTROLLOGIX ENET/IP COMMS MODULE | 1756-EN2T | 69004802 | SR3S7B3 | 21 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 3642.81 | 76499.01 | 7285.62 | 0 | 0 | 0 | 0 | 7285.62 | 0
ACTIVE | ROCKWELL | 1756-HSC |  | CONTROLLOGIX HIGH SPEED COUNTER MODULE | NOT AVAILABLE | 69004796 | NR4S4B1 | 6 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1690.35 | 10142.1 | 1690.35 | 3380.7 | 0 | 0 | 0 | 0 | 1690.35
ACTIVE | ROCKWELL | 1756-IA16 |  | CONTROLLOGIX 16 PT D/I 120V AC MODULE | NOT AVAILABLE |  |  | 78 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 733.33 | 57199.74 | 1466.66 | 0 | 0 | 0 | 0 | 1466.66 | 0
ACTIVE | ROCKWELL | 1756-IA16I |  | CONTROLLOGIX INPUT MODULE | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 923.98 | 0 | 0 | 923.98 | 0 | 0 | 0 | 0 | 923.98
ACTIVE | ROCKWELL | 1756-IB16 |  | CONTROLLOGIX 16 PT 12/24V DC D/I MODULE | NOT AVAILABLE |  |  | 258 | 3 | 3 | 1 | 0 | 0 | 0 | 1 | 571.93 | 147557.94 | 1715.79 | 1715.79 | 571.93 | 0 | 0 | 0 | 571.93
ACTIVE | ROCKWELL | 1756-IF16 |  | CONTROLLOGIX 16 POINT A/I MODULE | NOT AVAILABLE |  |  | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2474.26 | 14845.56 | 2474.26 | 2474.26 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1756-IF16H |  | CONTROLLOGIX 16 PT A/I HART MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3587.6 | 3587.6 | 3587.6 | 0 | 0 | 0 | 0 | 3587.6 | 0
ACTIVE | ROCKWELL | 1756-IF4FXOF2F |  | CONTROLLOGIX 4 POINT ANALOG COMB MODULE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3737.15 | 7474.3 | 3737.15 | 3737.15 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1756-IF8 |  | CONTROLLOGIX 8 POINT A/I MODULE | NOT AVAILABLE |  |  | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1713.94 | 22281.22 | 1713.94 | 0 | 0 | 0 | 0 | 1713.94 | 0
DISCONTINUED | ROCKWELL | 1756-IR6I |  | CONTROLLOGIX 6 PT ISOLATED RTD IN MODULE | 1756-IRT8I WITH FW 2.011 |  |  | 52 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 2550 | 132600 | 5100 | 2550 | 0 | 0 | 0 | 2550 | 0
ACTIVE | ROCKWELL | 1756-IRT8I |  | CONTROLLOGIX 8 POINT RTD/THERMOCOUPLE IN | NOT AVAILABLE |  |  | 6 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 3838.23 | 23029.38 | 3838.23 | 0 | 3838.23 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 1756-IT6I |  | CONTROLLOGIX 6 PT ISOLATED TC IN MODULE | 1756-IRT8I WITH FW 2.011 |  |  | 19 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3290 | 62510 | 3290 | 0 | 0 | 0 | 0 | 3290 | 0
DISCONTINUED | ROCKWELL | 1756-IT6I2 |  | CONTROLLOGIX 6 PT ENHANCED TC IN MODULE | 1756-IRT8I WITH FW 2.011 | 69003323 | BR3S2C1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2680 | 0 | 0 | 2680 | 0 | 0 | 0 | 0 | 2680
ACTIVE | ROCKWELL | 1756-IV16 |  | CONTROLLOGIX 16 PT 12/24V DC D/I MODULE | NOT AVAILABLE |  |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 587.17 | 0 | 0 | 1174.34 | 0 | 0 | 0 | 0 | 1174.34
ACTIVE | ROCKWELL | 1756-L71 |  | CONTROLLOGIX 2 MB CONTROLLER | NOT AVAILABLE |  |  | 7 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8513.75 | 59596.25 | 8513.75 | 0 | 0 | 0 | 0 | 8513.75 | 0
ACTIVE | ROCKWELL | 1756-L71S |  | LOGIX 5571S AUTOMATION CONTROLLER 2/1M | NOT AVAILABLE |  |  | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 9159.04 | 119067.52 | 9159.04 | 0 | 0 | 0 | 0 | 9159.04 | 0
ACTIVE | ROCKWELL | 1756-L72 |  | CONTROLLOGIX 4 MB CONTROLLER | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 12333.51 | 37000.53 | 12333.51 | 0 | 0 | 0 | 0 | 12333.51 | 0
ACTIVE | ROCKWELL | 1756-L72S |  | LOGIX 5572S AUTOMATION CONTROLLER 4M/2M | NOT AVAILABLE |  |  | 7 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 13477.22 | 94340.54 | 13477.22 | 0 | 0 | 0 | 0 | 13477.22 | 0
ACTIVE | ROCKWELL | 1756-L73 |  | CONTROLLOGIX 8 MB CONTROLLER | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 17619.3 | 17619.3 | 17619.3 | 0 | 0 | 0 | 0 | 17619.3 | 0
ACTIVE | ROCKWELL | 1756-L75 |  | CONTROLLOGIX 32 MB CONTROLLER | NOT AVAILABLE |  |  | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 29051.66 | 348619.92 | 29051.66 | 29051.66 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1756-L81E |  | CONTROLLOGIX 5580 CONTROLLER | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8372.21 | 25116.63 | 8372.21 | 0 | 0 | 0 | 0 | 8372.21 | 0
ACTIVE | ROCKWELL | 1756-L83E |  | CONTROLLOGIX 5580 CONTROLLER | NOT AVAILABLE |  |  | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 17140.25 | 17140.25 | 17140.25 | 0 | 17140.25 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 1756-LSP |  | GUARDLOGIX SAFETY PARTNER | 1756-L7SP |  |  | 20 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 3500 | 70000 | 7000 | 0 | 0 | 0 | 0 | 7000 | 0
ACTIVE | ROCKWELL | 1756-OA16 |  | CONTROLLOGIX 16 POINT D/O MODULE | NOT AVAILABLE |  |  | 79 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 1037.09 | 81930.11 | 2074.18 | 1037.09 | 0 | 0 | 0 | 1037.09 | 0
ACTIVE | ROCKWELL | 1756-OA16I |  | CONTROLLOGIX 16 POINT D/O MODULE | NOT AVAILABLE | 69007000 | BR3S2C1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1296.36 | 0 | 0 | 1296.36 | 0 | 0 | 0 | 0 | 1296.36
ACTIVE | ROCKWELL | 1756-OB16D |  | CONTROLLOGIX 16 PT 24V DC D/O MODULE | NOT AVAILABLE |  |  | 23 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 1296.36 | 29816.28 | 2592.72 | 0 | 0 | 0 | 0 | 2592.72 | 0
ACTIVE | ROCKWELL | 1756-OB16E |  | CONTROLLOGIX 16 POINT D/O MODULE | NOT AVAILABLE |  |  | 56 | 2 | 2 | 1 | 0 | 0 | 0 | 1 | 878.22 | 49180.32 | 1756.44 | 1756.44 | 878.22 | 0 | 0 | 0 | 878.22
ACTIVE | ROCKWELL | 1756-OB16I |  | CONTROLLOGIX 16 POINT D/O MODULE | NOT AVAILABLE | 69004125 | NR4S4B1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1155.28 | 0 | 0 | 1155.28 | 0 | 0 | 0 | 0 | 1155.28
ACTIVE | ROCKWELL | 1756-OF4 |  | CONTROLLOGIX 4 POINT A/O I OR V MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1945.89 | 3891.78 | 1945.89 | 0 | 0 | 0 | 0 | 1945.89 | 0
ACTIVE | ROCKWELL | 1756-OF8 |  | CONTROLLOGIX 8 PT A/O I OR V MODULE | NOT AVAILABLE | 69004791 | SR3S7B2 | 15 | 1 | 5 | 0 | 0 | 0 | 0 | 4 | 3221.68 | 48325.2 | 3221.68 | 16108.4 | 0 | 0 | 0 | 0 | 12886.72
ACTIVE | ROCKWELL | 1756-OW16I |  | CONTROLLOGIX 16 PT DIGITAL RELAY MODULE | NOT AVAILABLE |  |  | 37 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 996.41 | 36867.17 | 1992.82 | 996.41 | 0 | 0 | 0 | 996.41 | 0
ACTIVE | ROCKWELL | 1756-PA72 |  | CONTROLLOGIX AC POWER SUPPLY | NOT AVAILABLE | 69001579 |  | 48 | 2 | 3 | 0 | 0 | 0 | 0 | 1 | 1448.87 | 69545.76 | 2897.74 | 4346.61 | 0 | 0 | 0 | 0 | 1448.87
ACTIVE | ROCKWELL | 1756-PA75 |  | CONTROLLOGIX AC POWER SUPPLY | NOT AVAILABLE |  |  | 16 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1766.61 | 28265.76 | 1766.61 | 0 | 0 | 0 | 0 | 1766.61 | 0
ACTIVE | ROCKWELL | 1756-PB72 |  | CONTROLLOGIX 24V DC POWER SUPPLY | NOT AVAILABLE | 69005257 | NR3S6D1 | 18 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1448.87 | 26079.66 | 1448.87 | 2897.74 | 0 | 0 | 0 | 0 | 1448.87
ACTIVE | ROCKWELL | 1756-PB75 |  | CONTROLLOGIX 24V DC POWER SUPPLY | NOT AVAILABLE | 69005149 | NR4S11D3 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1766.61 | 7066.44 | 1766.61 | 1766.61 | 1766.61 | 0 | 0 | 0 | 1766.61
END OF LIFE | ROCKWELL | 1756-RIO |  | CONTROLLOGIX REMOTE I/O SCANNER MODULE | NOT AVAILABLE | 31054118 |  | 12 | 1 | 4 | 0 | 0 | 0 | 0 | 3 | 3939.9 | 47278.8 | 3939.9 | 15759.6 | 0 | 0 | 0 | 0 | 11819.7
ACTIVE MATURE | ROCKWELL | 1762-IF4 |  | MICROLOGIX 4 POINT ANALOG INPUT MODULE | 2085-IF4 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 553.99 | 553.99 | 553.99 | 0 | 0 | 0 | 0 | 553.99 | 0
ACTIVE MATURE | ROCKWELL | 1762-IQ16 |  | MICROLOGIX 16 POINT DIGITAL INPUT MODULE | 2085-IQ16 |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 330.84 | 1323.36 | 330.84 | 0 | 0 | 0 | 0 | 330.84 | 0
ACTIVE MATURE | ROCKWELL | 1762-IR4 |  | MICROLOGIX 4 POINT MODULE | 2085-IRT4 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 770.88 | 770.88 | 770.88 | 0 | 0 | 0 | 0 | 770.88 | 0
ACTIVE MATURE | ROCKWELL | 1762-IT4 |  | MICROLOGIX 4 POINT INPUT MODULE | 2085-IRT4 |  |  | 10 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 770.88 | 7708.8 | 770.88 | 1541.76 | 0 | 0 | 0 | 0 | 770.88
ACTIVE MATURE | ROCKWELL | 1762-OF4 |  | MICROLOGIX 4 POINT ANALOG OUTPUT MODULE | 2085-OF4 |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 522.63 | 2090.52 | 522.63 | 0 | 0 | 0 | 0 | 522.63 | 0
ACTIVE MATURE | ROCKWELL | 1762-OW16 |  | MICROLOGIX 16 POINT RELAY OUTPUT MODULE | 2085-OW16 |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 401.12 | 1604.48 | 401.12 | 0 | 0 | 0 | 0 | 401.12 | 0
DISCONTINUED | ROCKWELL | 1763-L16AWA |  | MICROLOGIX 1100 16 POINT CONTROLLER | MICRO800 |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1047.59 | 6285.54 | 1047.59 | 0 | 0 | 0 | 0 | 1047.59 | 0
ACTIVE MATURE | ROCKWELL | 1766-L32AWA |  | MICROLOGIX 1400 32 POINT CONTROLLER | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1258.24 | 2516.48 | 1258.24 | 0 | 0 | 0 | 0 | 1258.24 | 0
ACTIVE MATURE | ROCKWELL | 1766-L32BWA |  | MICROLOGIX 1400 32 POINT CONTROLLER | NOT AVAILABLE | 31014497 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1258.24 | 0 | 0 | 1258.24 | 0 | 0 | 0 | 0 | 1258.24
DISCONTINUED | ROCKWELL | 1768-ENBT |  | COMPACTLOGIX L4X ETHERNET/IP MODULE | 1769/5069 CMX CONTROLLERFAMILY |  |  | 46 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 1930 | 88780 | 3860 | 0 | 0 | 0 | 0 | 3860 | 0
DISCONTINUED | ROCKWELL | 1768-L43 |  | COMPACTLOGIX L43 2MB MEMORY CONTROLLER | 1769/5069 CMX CONTROLLERFAMILY |  |  | 18 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 6720 | 120960 | 6720 | 6720 | 0 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 1768-L43S |  | COMPACT GUARDLOGIX CPU L43S 2M/0.5M | COMPACTGUARD LOGIX 5380 |  |  | 5 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8422.23 | 42111.15 | 8422.23 | 0 | 0 | 0 | 0 | 8422.23 | 0
DISCONTINUED | ROCKWELL | 1768-PA3 |  | COMPACTLOGIX L4X AC/DC IN POWER SUPPLY | 1769/5069 CMX CONTROLLERFAMILY |  |  | 18 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 843.77 | 15187.86 | 843.77 | 0 | 0 | 0 | 0 | 843.77 | 0
DISCONTINUED | ROCKWELL | 1768-PB3 |  | COMPACTLOGIX L4X DC IN POWER SUPPLY | 1769/5069 CMX CONTROLLERFAMILY |  |  | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 843.77 | 2531.31 | 843.77 | 843.77 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1769-ARM |  | COMPACTLOGIX ADDRESS RESERVE MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 217.16 | 217.16 | 217.16 | 0 | 0 | 0 | 0 | 217.16 | 0
ACTIVE | ROCKWELL | 1769-ASCII |  | COMPACTLOGIX ASCII INTERFACE MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1100.01 | 2200.02 | 1100.01 | 0 | 0 | 0 | 0 | 1100.01 | 0
ACTIVE | ROCKWELL | 1769-HSC |  | COMPACTLOGIX HIGH-SPEED COUNTER MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1396.02 | 1396.02 | 1396.02 | 0 | 0 | 0 | 0 | 1396.02 | 0
ACTIVE | ROCKWELL | 1769-IA16 |  | COMPACTLOGIX 16 PT 120VAC D/I MODULE | NOT AVAILABLE |  |  | 9 | 1 | 4 | 0 | 0 | 0 | 0 | 3 | 443.37 | 3990.33 | 443.37 | 1773.48 | 0 | 0 | 0 | 0 | 1330.11
ACTIVE | ROCKWELL | 1769-IF16C |  | COMPACTLOGIX 16 PT A/I CURRENT MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1770.88 | 1770.88 | 1770.88 | 0 | 0 | 0 | 0 | 1770.88 | 0
ACTIVE | ROCKWELL | 1769-IF4 |  | COMPACTLOGIX 4 PT A/I C AND V MODULE | NOT AVAILABLE |  |  | 23 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 760.05 | 17481.15 | 1520.1 | 0 | 0 | 0 | 0 | 1520.1 | 0
ACTIVE | ROCKWELL | 1769-IF4I |  | COMPACTLOGIX 4 PT A/I C AND V ISO MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1447.72 | 2895.44 | 1447.72 | 0 | 0 | 0 | 0 | 1447.72 | 0
ACTIVE | ROCKWELL | 1769-IF4XOF2 |  | COMPACTLOGIX 6 PT A/I AND A/O MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 919.05 | 919.05 | 919.05 | 0 | 0 | 0 | 0 | 919.05 | 0
ACTIVE | ROCKWELL | 1769-IF8 |  | COMPACTLOGIX 8 PT ANALOG INPUT MODULE | NOT AVAILABLE |  |  | 8 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1218.93 | 9751.44 | 1218.93 | 0 | 0 | 0 | 0 | 1218.93 | 0
ACTIVE | ROCKWELL | 1769-IQ16 |  | COMPACTLOGIX 16 PT 24VDC D/I MODULE | NOT AVAILABLE |  |  | 114 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 373.57 | 42586.98 | 747.14 | 0 | 0 | 0 | 0 | 747.14 | 0
ACTIVE | ROCKWELL | 1769-IQ32 |  | COMPACTLOGIX 32 PT 24VDC D/I MODULE | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 656.65 | 1969.95 | 656.65 | 0 | 0 | 0 | 0 | 656.65 | 0
ACTIVE | ROCKWELL | 1769-IQ6XOW4 |  | CMPLX 10 PT 24VDC D/I RELAY D/O MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 377.43 | 377.43 | 377.43 | 0 | 0 | 0 | 0 | 377.43 | 0
ACTIVE | ROCKWELL | 1769-IR6 |  | COMPACTLOGIX 6 PT RTD MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1641.61 | 3283.22 | 1641.61 | 0 | 0 | 0 | 0 | 1641.61 | 0
ACTIVE | ROCKWELL | 1769-IT6 |  | COMPACTLOGIX 6 PT THERMOCOUPLE MODULE | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1551.14 | 4653.42 | 1551.14 | 0 | 0 | 0 | 0 | 1551.14 | 0
DISCONTINUED | ROCKWELL | 1769-L23E-QB1B |  | CMPLX 512KB ENET DI/O CONTROLLER | 1769-L24ER-QB1B |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2990 | 2990 | 2990 | 0 | 0 | 0 | 0 | 2990 | 0
ACTIVE | ROCKWELL | 1769-L24ER-QBFC1B |  | COMPACTLOGIX 750KB DI/O AI/O CONTROLLER | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4116.98 | 8233.96 | 4116.98 | 0 | 0 | 0 | 0 | 4116.98 | 0
ACTIVE | ROCKWELL | 1769-L30ERM |  | COMPACTLOGIX 1 MB MOTION CONTROLLER | NOT AVAILABLE | 69002961 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3959.81 | 0 | 0 | 3959.81 | 0 | 0 | 0 | 0 | 3959.81
ACTIVE | ROCKWELL | 1769-L30ERMS |  | COMPACT GUARDLOGIX CPU, L30ERMS, 1M/0.5M | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5785.98 | 5785.98 | 5785.98 | 0 | 0 | 0 | 0 | 5785.98 | 0
DISCONTINUED | ROCKWELL | 1769-L32E |  | COMPACTLOGIX 750KB ENET CONTROLLER | ASCII MODULE TO REPLACE SERIAL |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5496.32 | 32977.92 | 5496.32 | 0 | 0 | 0 | 0 | 5496.32 | 0
ACTIVE | ROCKWELL | 1769-L33ER |  | COMPACTLOGIX ETHERNET PROCESSOR | NOT AVAILABLE |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4404.15 | 26424.9 | 4404.15 | 0 | 0 | 0 | 0 | 4404.15 | 0
ACTIVE | ROCKWELL | 1769-L33ERM |  | COMPACTLOGIX 2 MB MOTION CONTROLLER | NOT AVAILABLE |  |  | 17 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5567.25 | 94643.25 | 5567.25 | 5567.25 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1769-OA16 |  | COMPACTLOGIX 16 PT 240VAC D/O MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 678.62 | 1357.24 | 678.62 | 0 | 0 | 0 | 0 | 678.62 | 0
ACTIVE | ROCKWELL | 1769-OB16 |  | COMPACTLOGIX 16 PT 24VDC D/O MODULE | NOT AVAILABLE |  |  | 40 | 2 | 1 | 0 | 0 | 0 | 1 | 0 | 491.19 | 19647.6 | 982.38 | 491.19 | 0 | 0 | 0 | 491.19 | 0
ACTIVE | ROCKWELL | 1769-OB16P |  | COMPACTLOGIX 16 PT 24VDC PROT D/O MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 601.06 | 1202.12 | 601.06 | 0 | 0 | 0 | 0 | 601.06 | 0
ACTIVE | ROCKWELL | 1769-OB32 |  | COMPACTLOGIX 32 PT 24VDC D/O MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 806.59 | 1613.18 | 806.59 | 0 | 0 | 0 | 0 | 806.59 | 0
ACTIVE | ROCKWELL | 1769-OB8 |  | COMPACTLOGIX 8 PT 24VDC D/O MODULE | NOT AVAILABLE |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 394.24 | 1576.96 | 394.24 | 0 | 0 | 0 | 0 | 394.24 | 0
ACTIVE | ROCKWELL | 1769-OF4 |  | COMPACTLOGIX 4 PT A/O C AND V MODULE | NOT AVAILABLE | 69012870 |  | 4 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1180.15 | 4720.6 | 1180.15 | 2360.3 | 0 | 0 | 0 | 0 | 1180.15
ACTIVE | ROCKWELL | 1769-OF4CI |  | COMPACTLOGIX 4 PT A/O CURRENT MODULE | NOT AVAILABLE | 31091820 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1719.18 | 0 | 0 | 1719.18 | 0 | 0 | 0 | 0 | 1719.18
ACTIVE | ROCKWELL | 1769-OF4VI |  | COMPACTLOGIX 4 PT A/O VOLTAGEMODULE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1757.94 | 3515.88 | 1757.94 | 1757.94 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1769-OF8C |  | COMPACTLOGIX 8 PT A/O CURRENT MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2275 | 2275 | 2275 | 0 | 0 | 0 | 0 | 2275 | 0
ACTIVE | ROCKWELL | 1769-OF8V |  | COMPACTLOGIX 8 PT A/O VOLTAGE MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2287.92 | 4575.84 | 2287.92 | 0 | 0 | 0 | 0 | 2287.92 | 0
ACTIVE | ROCKWELL | 1769-OW16 |  | COMPACTLOGIX 16 PT D/O RELAY MODULE | NOT AVAILABLE |  |  | 16 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 626.92 | 10030.72 | 626.92 | 0 | 0 | 0 | 0 | 626.92 | 0
ACTIVE | ROCKWELL | 1769-OW8 |  | COMPACTLOGIX 8 PT D/O RELAY MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 338.66 | 677.32 | 338.66 | 0 | 0 | 0 | 0 | 338.66 | 0
ACTIVE | ROCKWELL | 1769-OW8I |  | COMPACTLOGIX 8 PT D/O RELAY ISO MODULE | NOT AVAILABLE |  |  | 47 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 457.59 | 21506.73 | 915.18 | 0 | 0 | 0 | 0 | 915.18 | 0
ACTIVE | ROCKWELL | 1769-PA2 |  | COMPACTLOGIX AC 2A/0.8A POWER SUPPLY | NOT AVAILABLE |  |  | 8 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 427.86 | 3422.88 | 427.86 | 0 | 0 | 0 | 0 | 427.86 | 0
ACTIVE | ROCKWELL | 1769-PA4 |  | CMPLX SELECTABLE AC 4A/2A POWER SUPPLY | NOT AVAILABLE |  |  | 8 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 700.6 | 5604.8 | 700.6 | 2101.8 | 0 | 0 | 0 | 0 | 1401.2
ACTIVE | ROCKWELL | 1769-PB2 |  | COMPACTLOGIX DC 2A/0.8A POWER SUPPLY | NOT AVAILABLE |  |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 427.86 | 0 | 0 | 855.72 | 0 | 0 | 0 | 0 | 855.72
ACTIVE | ROCKWELL | 1769-PB4 |  | COMPACTLOGIX DC 4A/2A POWER SUPPLY | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 708.36 | 1416.72 | 708.36 | 0 | 0 | 0 | 0 | 708.36 | 0
DISCONTINUED | ROCKWELL | 1771-A1B |  | 4 SLOTS UNIVERSAL INPUT/OUTPUT CHASSIS | NOT AVAILABLE |  |  | 10 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 619 | 6190 | 619 | 0 | 0 | 0 | 0 | 619 | 0
DISCONTINUED | ROCKWELL | 1771-ASB |  | 1771 REMOTE I/O ADAPTOR MODULE | MIGRATE TO RA LOGIX |  |  | 10 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4660 | 46600 | 4660 | 0 | 0 | 0 | 0 | 4660 | 0
DISCONTINUED | ROCKWELL | 1771-IK |  | 1771 ENCODER DIGITAL INPUT | MIGRATE TO RA LOGIX |  |  | 10 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 2797.7 | 27977 | 2797.7 | 5595.4 | 0 | 0 | 0 | 0 | 2797.7
DISCONTINUED | ROCKWELL | 1771-P4S |  | 1771 POWER SUPPLY | MIGRATE TO RA LOGIX |  |  | 10 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3176.12 | 31761.2 | 3176.12 | 0 | 0 | 0 | 0 | 3176.12 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS06SGL |  | STRATIX 5700 6 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1639.96 | 1639.96 | 1639.96 | 0 | 0 | 0 | 0 | 1639.96 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS06TA |  | STRATIX 5700 6 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1639.96 | 1639.96 | 1639.96 | 0 | 0 | 0 | 0 | 1639.96 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS06TL |  | STRATIX 5700 6 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 9 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1314.48 | 11830.32 | 1314.48 | 0 | 0 | 0 | 0 | 1314.48 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS10CA |  | STRATIX 5700 10 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2378.57 | 7135.71 | 2378.57 | 0 | 0 | 0 | 0 | 2378.57 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS10CGP |  | STRATIX 5700 10 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3017.03 | 3017.03 | 3017.03 | 0 | 0 | 0 | 0 | 3017.03 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS10CL |  | STRATIX 5700 10 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1852.77 | 3705.54 | 1852.77 | 0 | 0 | 0 | 0 | 1852.77 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS20CA |  | STRATIX 5700 20 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3980.96 | 23885.76 | 3980.96 | 0 | 0 | 0 | 0 | 3980.96 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS20CGN |  | STRATIX 5700 20 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5520.78 | 71770.14 | 5520.78 | 0 | 0 | 0 | 0 | 5520.78 | 0
ACTIVE MATURE | ROCKWELL | 1783-BMS20CGP |  | STRATIX 5700 20 PORT MANAGED SWITCH | NOT AVAILABLE |  |  | 5 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4450.76 | 22253.8 | 4450.76 | 0 | 0 | 0 | 0 | 4450.76 | 0
DISCONTINUED | ROCKWELL | 1783-EMS04T |  | STRATIX 6000 4 PORT MANAGED SWITCH | 1783-LMS5 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 983 | 983 | 983 | 0 | 0 | 0 | 0 | 983 | 0
DISCONTINUED | ROCKWELL | 1783-US05T |  | STRATIX 2000 5 PORT ETHERNET SWITCH | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 226 | 452 | 226 | 0 | 0 | 0 | 0 | 226 | 0
DISCONTINUED | ROCKWELL | 1783-US08T |  | STRATIX 2000 8 PORT ETHERNET SWITCH | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 301 | 301 | 301 | 0 | 0 | 0 | 0 | 301 | 0
ACTIVE | ROCKWELL | 1783-US5T |  | STRATIX 2000 5T PORT UNMANAGED SWITCH | NOT AVAILABLE |  |  | 9 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 190.59 | 1715.31 | 190.59 | 0 | 190.59 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1783-US8T |  | STRATIX 2000 8T PORT UNMANAGED SWITCH | NOT AVAILABLE |  |  | 32 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 261.28 | 8360.96 | 522.56 | 261.28 | 261.28 | 0 | 0 | 0 | 0
ACTIVE MATURE | ROCKWELL | 1794-ACN15 |  | FLEX CONTROLNET ADAPTER | 1794-AENT, 1794-AENTR | 69005368 | NR4S3D1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1483.3 | 0 | 0 | 1483.3 | 0 | 0 | 0 | 0 | 1483.3
END OF LIFE | ROCKWELL | 1794-AENT |  | NETWORK ADAPTER,POINT I/O,ETHERNET/IP,63 MODULE CAPACITY ON POINTBUS,DIN MOUNTED | 1794-AENTR | 69007020 | NR4S3B2 | 4 | 1 | 2 | 1 | 0 | 0 | 0 | 2 | 1174.08 | 4696.32 | 1174.08 | 2348.16 | 1174.08 | 0 | 0 | 0 | 2348.16
ACTIVE | ROCKWELL | 1794-IB16 |  | FLEX 16 POINT DIGITAL INPUT MODULE | NOT AVAILABLE |  |  | 3 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 486.69 | 1460.07 | 486.69 | 0 | 486.69 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1794-IB16XOB16P |  | FLEX 32 POINT DIGITAL COMBINATION MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 963.2 | 1926.4 | 963.2 | 0 | 0 | 0 | 0 | 963.2 | 0
ACTIVE | ROCKWELL | 1794-IB32 |  | FLEX 32 POINT DIGITAL INPUT MODULE | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 786.1 | 0 | 0 | 786.1 | 0 | 0 | 0 | 0 | 786.1
ACTIVE | ROCKWELL | 1794-IB8 |  | FLEX 8 POINT DIGITAL INPUT MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 268.82 | 268.82 | 268.82 | 0 | 0 | 0 | 0 | 268.82 | 0
ACTIVE | ROCKWELL | 1794-IE8 |  | FLEX 8 POINT ANALOG INPUT MODULE | NOT AVAILABLE | 69010489 | C12D2S8 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 3 | 1541.63 | 1541.63 | 1541.63 | 4624.89 | 1541.63 | 0 | 0 | 0 | 4624.89
ACTIVE | ROCKWELL | 1794-IF4I |  | FLEX 4 POINT ANALOG INPUT MODULE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1579.85 | 3159.7 | 1579.85 | 0 | 0 | 0 | 0 | 1579.85 | 0
ACTIVE | ROCKWELL | 1794-IR8 |  | FLEX 8 POINT RTD INPUT MODULE | NOT AVAILABLE | 69005372 | C12D1S17 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 2420.73 | 0 | 0 | 4841.46 | 0 | 0 | 0 | 0 | 4841.46
ACTIVE | ROCKWELL | 1794-OB16 |  | FLEX 16 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 3 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 691.81 | 2075.43 | 691.81 | 0 | 691.81 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 1794-OB32P |  | FLEX 32 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 889.29 | 0 | 0 | 1778.58 | 0 | 0 | 0 | 0 | 1778.58
ACTIVE | ROCKWELL | 1794-OB8 |  | FLEX 8 POINT DIGITAL OUTPUT MODULE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 282.85 | 282.85 | 282.85 | 0 | 0 | 0 | 0 | 282.85 | 0
ACTIVE | ROCKWELL | 1794-OE4 |  | FLEX 4 POINT ANALOG OUTPUT MODULE | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1388.74 | 0 | 0 | 1388.74 | 0 | 0 | 0 | 0 | 1388.74
ACTIVE | ROCKWELL | 1794-PS13 |  | FLEX POWER SUPPLY | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 331.25 | 662.5 | 331.25 | 0 | 0 | 0 | 0 | 331.25 | 0
ACTIVE | ROCKWELL | 20-750-2262C-2R |  | POWERFLEX 750 24V DC IO OPTION MODULE | NOT AVAILABLE |  |  | 42 | 2 | 4 | 1 | 0 | 0 | 0 | 3 | 408.33 | 17149.86 | 816.66 | 1633.32 | 408.33 | 0 | 0 | 0 | 1224.99
DISCONTINUED | ROCKWELL | 20-750-C4-C770D740 |  | PF750 KIT,CONV,400V 770A,480V 740A | 20-750-C5-C770D740 |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10500 | 21000 | 10500 | 0 | 0 | 0 | 0 | 10500 | 0
DISCONTINUED | ROCKWELL | 20-750-C5-C770D740 |  | PF750,FR8,CONVERTER,400V 770A,480V 740A | 20-750-C6-C770D740 |  |  | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 10765 | 32295 | 10765 | 10765 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20-750-DENC-1 |  | POWERFLEX 750 DUAL ENCODER OPTION MODULE | NOT AVAILABLE |  |  | 27 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 460.28 | 12427.56 | 920.56 | 920.56 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20-750-ENC-1 |  | POWERFLEX 750 ENCODER OPTION MODULE | NOT AVAILABLE |  |  | 15 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 242.82 | 3642.3 | 242.82 | 728.46 | 0 | 0 | 0 | 0 | 485.64
ACTIVE | ROCKWELL | 20-750-I1B-C650D617 |  | POWERFLEX 750 REPLACEMENT INVERTER | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 67700 | 135400 | 67700 | 0 | 0 | 0 | 0 | 67700 | 0
ACTIVE | ROCKWELL | 20-750-I2B-C770D740 |  | POWERFLEX 750 INVERTER ASSEMBLY | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 78400 | 156800 | 78400 | 78400 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20-750-S |  | POWERFLEX 750 SAFE TORQUE-OFF OPT MODULE | NOT AVAILABLE |  |  | 30 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 205.37 | 6161.1 | 410.74 | 0 | 0 | 0 | 0 | 410.74 | 0
ACTIVE | ROCKWELL | 20-750-S1 |  | POWERFLEX 750 SAFE SPEED MON OPT MODULE | NOT AVAILABLE |  |  | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1177.88 | 11778.8 | 1177.88 | 1177.88 | 0 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 2090-UCSR-A300 |  | ACTIVE SHUNT REGULATOR | KINETIX 5500 OR 350 OR 300 |  |  | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 773.34 | 773.34 | 773.34 | 1546.68 | 0 | 0 | 0 | 0 | 773.34
ACTIVE MATURE | ROCKWELL | 2090-UXLF-123 |  | ULTRA SERIES 23A AC LINE FILTER | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 343.81 | 687.62 | 343.81 | 0 | 0 | 0 | 0 | 343.81 | 0
ACTIVE MATURE | ROCKWELL | 2094-BC07-M05-M |  | KINETIX 6200/6500 INTEGRATED MODULE | NOT APPLICABLE |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8113.11 | 32452.44 | 8113.11 | 0 | 0 | 0 | 0 | 8113.11 | 0
ACTIVE MATURE | ROCKWELL | 2094-BM03-M |  | KINETIX 6200/6500 POWER MODULE | NOT APPLICABLE |  |  | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3437.98 | 20627.88 | 3437.98 | 3437.98 | 0 | 0 | 0 | 0 | 0
ACTIVE MATURE | ROCKWELL | 2094-EN02D-M01-S0 |  | KINETIX 6200/6500 CONTROL MODULE | NOT APPLICABLE |  |  | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1471.56 | 14715.6 | 1471.56 | 1471.56 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 2097-V31PR2-LM |  | KINETIX 350 800W SERVO DRIVE | NOT AVAILABLE | 69007632 | NR3S11D3 | 3 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1742.03 | 5226.09 | 1742.03 | 3484.06 | 0 | 0 | 0 | 0 | 1742.03
END OF LIFE | ROCKWELL | 2097-V33PR5-LM |  | KINETIX 350 2.0KW SERVO DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2079.65 | 2079.65 | 2079.65 | 2079.65 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 2097-V34PR3-LM |  | KINETIX 350 1.0KW SERVO DRIVE | NOT AVAILABLE |  |  | 12 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1742.03 | 20904.36 | 1742.03 | 0 | 0 | 0 | 0 | 1742.03 | 0
DISCONTINUED | ROCKWELL | 2098-DSD-020 |  | ULTRA 3000 2KW SERVO DRIVE | K3X0/K5500 | 69007226 | NR3S11D3 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 2950.78 | 5901.56 | 2950.78 | 5901.56 | 0 | 0 | 0 | 0 | 2950.78
DISCONTINUED | ROCKWELL | 2098-DSD-HV100 |  | ULTRA 3000 SERVO DRIVE | K3X0/K5500 |  |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4936.31 | 4936.31 | 4936.31 | 4936.31 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 20AD011A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 11 A AT 7.5 HP 20A | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2850.68 | 5701.36 | 2850.68 | 0 | 0 | 0 | 0 | 2850.68 | 0
END OF LIFE | ROCKWELL | 20AD014A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 14 A AT 10 HP 20A | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3448.08 | 6896.16 | 3448.08 | 0 | 0 | 0 | 0 | 3448.08 | 0
END OF LIFE | ROCKWELL | 20AD014A3AYNANC0 |  | POWERFLEX 70 AC DRIVE 14 A AT 10 HP 20A | 20AD014ANAYNANC0 AND 20-HIM-A6 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3893.53 | 3893.53 | 3893.53 | 0 | 0 | 0 | 0 | 3893.53 | 0
END OF LIFE | ROCKWELL | 20AD022A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 22 A AT 15 HP 20A | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 4201.33 | 0 | 0 | 4201.33 | 0 | 0 | 0 | 0 | 4201.33
END OF LIFE | ROCKWELL | 20AD027A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 27 A AT 20 HP 20A | NOT AVAILABLE |  |  | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5084.46 | 20337.84 | 5084.46 | 5084.46 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 20AD034A3AYNANC0 |  | POWERFLEX 70 AC DRIVE 34 A AT 25 HP 20A | 20AD034ANAYNANC0 AND 20-HIM-A6 |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 6809.13 | 0 | 0 | 6809.13 | 0 | 0 | 0 | 0 | 6809.13
END OF LIFE | ROCKWELL | 20AD052A0AYNACC0 |  | POWERFLEX 70 AC DRIVE 52 A AT 40 HP 20A | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10630.02 | 10630.02 | 10630.02 | 0 | 0 | 0 | 0 | 10630.02 | 0
END OF LIFE | ROCKWELL | 20AD052A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 52 A AT 40 HP 20A | NOT AVAILABLE |  |  | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 9571.48 | 47857.4 | 9571.48 | 9571.48 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 20AD8P0A0AYNANC0 |  | POWERFLEX 70 AC DRIVE 8 A AT 5 HP 20A | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2500.02 | 2500.02 | 2500.02 | 0 | 0 | 0 | 0 | 2500.02 | 0
END OF LIFE | ROCKWELL | 20AD8P0A0AYNNNC0 |  | POWERFLEX 70 AC DRIVE 8 A AT 5 HP 20A | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2337.67 | 2337.67 | 2337.67 | 0 | 0 | 0 | 0 | 2337.67 | 0
ACTIVE | ROCKWELL | 20B-ENC-1 |  | POWERFLEX 700 ENCODER INTERFACE KIT | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 342.28 | 0 | 0 | 342.28 | 0 | 0 | 0 | 0 | 342.28
ACTIVE | ROCKWELL | 20F11ND022AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3068.02 | 6136.04 | 3068.02 | 0 | 0 | 0 | 0 | 3068.02 | 0
ACTIVE | ROCKWELL | 20F11ND027AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3728.55 | 3728.55 | 3728.55 | 0 | 0 | 0 | 0 | 3728.55 | 0
ACTIVE | ROCKWELL | 20F11ND034AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 4673.02 | 14019.06 | 4673.02 | 0 | 0 | 0 | 0 | 4673.02 | 0
ACTIVE | ROCKWELL | 20F11ND040AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5845.91 | 23383.64 | 5845.91 | 0 | 0 | 0 | 0 | 5845.91 | 0
ACTIVE | ROCKWELL | 20F11ND052AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 14 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 7031.15 | 98436.1 | 7031.15 | 0 | 0 | 0 | 0 | 7031.15 | 0
ACTIVE | ROCKWELL | 20F11ND065AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 5 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8858.38 | 44291.9 | 8858.38 | 0 | 0 | 0 | 0 | 8858.38 | 0
ACTIVE | ROCKWELL | 20F11ND077AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10623.88 | 10623.88 | 10623.88 | 0 | 0 | 0 | 0 | 10623.88 | 0
ACTIVE | ROCKWELL | 20F11ND2P1AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1821.06 | 1821.06 | 1821.06 | 0 | 0 | 0 | 0 | 1821.06 | 0
ACTIVE | ROCKWELL | 20F1AND125AA0NNNNN |  | POWERFLEX AIR COOLED 753 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 15420.99 | 15420.99 | 15420.99 | 15420.99 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11ND011AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE | 69003003 |  | 4 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 3941.39 | 15765.56 | 3941.39 | 7882.78 | 0 | 0 | 0 | 0 | 3941.39
ACTIVE | ROCKWELL | 20G11ND011JA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 9 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3941.39 | 35472.51 | 3941.39 | 0 | 0 | 0 | 0 | 3941.39 | 0
ACTIVE | ROCKWELL | 20G11ND014AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 24 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 4012 | 96288 | 8024 | 0 | 4012 | 0 | 0 | 4012 | 0
ACTIVE | ROCKWELL | 20G11ND022AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4647.49 | 23237.45 | 4647.49 | 4647.49 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11ND027AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 24 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 5360.03 | 128640.72 | 10720.06 | 0 | 5360.03 | 0 | 0 | 5360.03 | 0
ACTIVE | ROCKWELL | 20G11ND034AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 6432.03 | 64320.3 | 6432.03 | 6432.03 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11ND040AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 5 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 7754.38 | 38771.9 | 7754.38 | 0 | 0 | 0 | 0 | 7754.38 | 0
ACTIVE | ROCKWELL | 20G11ND065AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 10 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 11137.31 | 111373.1 | 11137.31 | 0 | 0 | 0 | 0 | 11137.31 | 0
ACTIVE | ROCKWELL | 20G11ND065JA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 9 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 11137.31 | 100235.79 | 11137.31 | 0 | 0 | 0 | 0 | 11137.31 | 0
ACTIVE | ROCKWELL | 20G11ND077AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 13133.66 | 13133.66 | 13133.66 | 0 | 0 | 0 | 0 | 13133.66 | 0
ACTIVE | ROCKWELL | 20G11ND2P1AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3241.69 | 6483.38 | 3241.69 | 3241.69 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11ND2P1JA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3241.69 | 6483.38 | 3241.69 | 0 | 0 | 0 | 0 | 3241.69 | 0
ACTIVE | ROCKWELL | 20G11ND5P0AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3241.69 | 12966.76 | 3241.69 | 3241.69 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11ND8P0AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3492.04 | 6984.08 | 3492.04 | 3492.04 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 20G11RD2P1AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE | 69007045 | NR1S8C2 | 12 | 1 | 2 | 1 | 0 | 0 | 0 | 2 | 1810.2 | 21722.4 | 1810.2 | 3620.4 | 1810.2 | 0 | 0 | 0 | 3620.4
ACTIVE | ROCKWELL | 20G1AND156AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 20332.74 | 20332.74 | 20332.74 | 0 | 0 | 0 | 0 | 20332.74 | 0
ACTIVE | ROCKWELL | 20G1AND156AN0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 19363.44 | 19363.44 | 19363.44 | 0 | 0 | 0 | 0 | 19363.44 | 0
ACTIVE | ROCKWELL | 20G1AND248AA0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 29403.07 | 58806.14 | 29403.07 | 0 | 0 | 0 | 0 | 29403.07 | 0
ACTIVE | ROCKWELL | 20G1AND415AN0NNNNN |  | POWERFLEX AIR COOLED 755 AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 50740.93 | 101481.86 | 50740.93 | 50740.93 | 0 | 0 | 0 | 0 | 0
END OF LIFE | ROCKWELL | 20-HIM-A3 |  | POWERFLEX ARCHITECTURE CLASS HIM, KEYPAD | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 348.58 | 697.16 | 348.58 | 0 | 0 | 0 | 0 | 348.58 | 0
ACTIVE | ROCKWELL | 20-HIM-A6 |  | POWERFLEX ARCHITECTURE CLASS HIM | NOT AVAILABLE |  |  | 51 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 291.14 | 14848.14 | 582.28 | 291.14 | 291.14 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 2198-DB08-F |  | KINETIX 5500 8A LINE FILTER | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 272.88 | 545.76 | 272.88 | 0 | 0 | 0 | 0 | 272.88 | 0
ACTIVE | ROCKWELL | 2198-DB80-F |  | KINETIX 5700 80A LINE FILTER | NOT AVAILABLE |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1045.63 | 0 | 0 | 0 | 1045.63 | 0 | 0 | 0 | 1045.63
ACTIVE | ROCKWELL | 2198-H003-ERS |  | KINETIX 5500 2.5 AMP SERVO DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1884.7 | 1884.7 | 1884.7 | 0 | 1884.7 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 2198-H008-ERS |  | KINETIX 5500 6.3 AMP SERVO DRIVE | NOT AVAILABLE |  |  | 22 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 2084.41 | 45857.02 | 4168.82 | 2084.41 | 2084.41 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 2198-H025-ERS |  | KINETIX 5500 20 AMP SERVO DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 2471.34 | 2471.34 | 2471.34 | 2471.34 | 2471.34 | 0 | 0 | 0 | 2471.34
ACTIVE | ROCKWELL | 2198-H040-ERS |  | KINETIX 5500 SERVO DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2745.93 | 2745.93 | 2745.93 | 0 | 2745.93 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 2198-H070-ERS |  | KINETIX 5500 SERVO DRIVE | NOT AVAILABLE | 69007983 | PR2S3D3 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2 | 3182.8 | 0 | 0 | 3182.8 | 3182.8 | 0 | 0 | 0 | 6365.6
ACTIVE | ROCKWELL | 2198-K57CK-D15M |  | KINETIX 5700 FEEDBACK CONNECTOR KIT | NOT AVAILABLE |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 122.41 | 0 | 0 | 0 | 122.41 | 0 | 0 | 0 | 122.41
ACTIVE | ROCKWELL | 2198-P141 |  | KINETIX 5700 DC BUS SUPPLY | NOT AVAILABLE |  |  | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3211.11 | 9633.33 | 3211.11 | 0 | 0 | 0 | 0 | 3211.11 | 0
ACTIVE | ROCKWELL | 2198-S130-ERS3 |  | KINETIX 5700 SINGLE AXIS INVERTER | NOT AVAILABLE |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5663.01 | 33978.06 | 5663.01 | 0 | 0 | 0 | 0 | 5663.01 | 0
ACTIVE | ROCKWELL | 21G1ABD740AN0NNNNN-HD-L1-P5 |  | POWERFLEX AIR COOLED 755 PACKAGED DRIVE | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 137241.73 | 0 | 0 | 137241.73 | 0 | 0 | 0 | 0 | 137241.73
END OF LIFE | ROCKWELL | 22B-D2P3N104 |  | POWERFLEX 40- 0.75 KW (1 HP) AC DRIVE | POWERFLEX 525 |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1509.78 | 9058.68 | 1509.78 | 0 | 0 | 0 | 0 | 1509.78 | 0
END OF LIFE | ROCKWELL | 22B-D6P0N104 |  | POWERFLEX 40- 2.2 KW (3 HP) AC DRIVE | POWERFLEX 525 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2072.5 | 2072.5 | 2072.5 | 0 | 0 | 0 | 0 | 2072.5 | 0
ACTIVE | ROCKWELL | 22C-D030N103 |  | POWERFLEX 400- 15 KW (20 HP) AC DRIVE | NOT AVAILABLE |  |  | 8 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 3809.98 | 30479.84 | 3809.98 | 0 | 0 | 0 | 0 | 3809.98 | 0
END OF LIFE | ROCKWELL | 22D-D2P3N104 |  | POWERFLEX 40P- 0.75 KW (1 HP) AC DRIVE | POWERFLEX 525 |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2021.88 | 4043.76 | 2021.88 | 0 | 0 | 0 | 0 | 2021.88 | 0
ACTIVE | ROCKWELL | 22F-D018N104 |  | POWERFLEX 4M- 7.5 KW (10 HP) AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1669.47 | 3338.94 | 1669.47 | 0 | 0 | 0 | 0 | 1669.47 | 0
ACTIVE | ROCKWELL | 22F-D2P5N103 |  | POWERFLEX 4M- 0.75 KW (1 HP) AC DRIVE | NOT AVAILABLE |  |  | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 584.94 | 2339.76 | 584.94 | 584.94 | 0 | 0 | 0 | 0 | 0
ACTIVE | ROCKWELL | 22-HIM-A3 |  | POWERFLEX HANDHELD HIM | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 292.67 | 585.34 | 292.67 | 0 | 0 | 0 | 0 | 292.67 | 0
ACTIVE | ROCKWELL | 22-HIM-C2S |  | POWERFLEX IP66 UL-NEMA TYPE 4X-12 HIM | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 497.79 | 995.58 | 497.79 | 0 | 0 | 0 | 0 | 497.79 | 0
ACTIVE | ROCKWELL | 25A-D010N114 |  | POWERFLEX 523 4KW (5HP) AC DRIVE | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1368.23 | 2736.46 | 1368.23 | 0 | 0 | 0 | 0 | 1368.23 | 0
ACTIVE | ROCKWELL | 25B-D010N104 |  | POWERFLEX 525 4KW (5HP) AC DRIVE | NOT AVAILABLE |  |  | 1 | 1 | 2 | 1 | 0 | 0 | 0 | 2 | 1644.16 | 1644.16 | 1644.16 | 3288.32 | 1644.16 | 0 | 0 | 0 | 3288.32
ACTIVE | ROCKWELL | 25B-D4P0N104 |  | POWERFLEX 525 1.5KW (2HP) AC DRIVE | NOT AVAILABLE |  |  | 3 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1134.85 | 3404.55 | 1134.85 | 2269.7 | 0 | 0 | 0 | 0 | 1134.85
DISCONTINUED | ROCKWELL | 2711C-T3M |  | PANELVIEW COMP C300 GRAPHIC TERMINAL | PV800 T4T |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 361 | 1444 | 361 | 0 | 0 | 0 | 0 | 361 | 0
DISCONTINUED | ROCKWELL | 2711C-T6T |  | PANELVIEW COMP C600 GRAPHIC TERMINAL | 2711R-T7T |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 876 | 0 | 0 | 876 | 0 | 0 | 0 | 0 | 876
DISCONTINUED | ROCKWELL | 2711P-B10C4A8 |  | PANELVIEW PLUS TERMINAL | 2711P-B10C22A9P |  |  | 13 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10752.48 | 139782.24 | 10752.48 | 0 | 0 | 0 | 0 | 10752.48 | 0
DISCONTINUED | ROCKWELL | 2711P-B10C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-B10C22D9P |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 10130.09 | 0 | 0 | 10130.09 | 0 | 0 | 0 | 0 | 10130.09
DISCONTINUED | ROCKWELL | 2711P-B4C20D8 |  | PANELVIEW PLUS 6 GRAPHIC TERMINAL | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1993.61 | 0 | 0 | 1993.61 | 0 | 0 | 0 | 0 | 1993.61
DISCONTINUED | ROCKWELL | 2711P-B7C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-B7C22D9P |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 7115.74 | 7115.74 | 7115.74 | 0 | 0 | 0 | 0 | 7115.74 | 0
DISCONTINUED | ROCKWELL | 2711P-RDT12H |  | PANELVIEW PLUS DISPLAY MODULE | NOT AVAILABLE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 6322.08 | 0 | 0 | 6322.08 | 0 | 0 | 0 | 0 | 6322.08
END OF LIFE | ROCKWELL | 2711P-RP8DK |  | PANELVIEW PLUS 6 700-1500 LOGIC MODULE | PVP 7 STANDARD OR PERFORMANCE |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3852.24 | 0 | 0 | 3852.24 | 0 | 0 | 0 | 0 | 3852.24
ACTIVE | ROCKWELL | 2711P-T10C22D9P |  | PANELVIEW PLUS 7 GRAPHIC TERMINAL | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5183.79 | 5183.79 | 5183.79 | 0 | 0 | 0 | 0 | 5183.79 | 0
DISCONTINUED | ROCKWELL | 2711P-T10C4A8 |  | PANELVIEW PLUS TERMINAL | 2711P-T10C22A9P |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10057.89 | 40231.56 | 10057.89 | 0 | 0 | 0 | 0 | 10057.89 | 0
DISCONTINUED | ROCKWELL | 2711P-T10C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-T10C22D9P |  |  | 14 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 8637.89 | 120930.46 | 8637.89 | 0 | 0 | 0 | 0 | 8637.89 | 0
DISCONTINUED | ROCKWELL | 2711P-T12C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-T12W22D9P |  |  | 8 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 10807.3 | 86458.4 | 10807.3 | 0 | 0 | 0 | 0 | 10807.3 | 0
ACTIVE | ROCKWELL | 2711P-T12W22D9P |  | PANELVIEW PLUS 7 GRAPHIC TERMINAL | NOT AVAILABLE |  |  | 5 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 6478.79 | 32393.95 | 6478.79 | 0 | 6478.79 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 2711P-T15C4A8 |  | PANELVIEW PLUS TERMINAL | 2711P-T15C22A9P |  |  | 4 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 12979.77 | 51919.08 | 12979.77 | 0 | 0 | 0 | 0 | 12979.77 | 0
DISCONTINUED | ROCKWELL | 2711P-T15C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-T15C22D9P |  |  | 6 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 12431.54 | 74589.24 | 12431.54 | 0 | 0 | 0 | 0 | 12431.54 | 0
ACTIVE | ROCKWELL | 2711P-T4W22D8S |  | PANEL,DISPLAY, MONITOR SIZE 4.3 , 24 VDC | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 978.59 | 1957.18 | 978.59 | 0 | 0 | 0 | 0 | 978.59 | 0
DISCONTINUED | ROCKWELL | 2711P-T6C20D8 |  | PANELVIEW PLUS 6 6 COLOR TOUCH DC | NOT AVAILABLE |  |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3044.52 | 3044.52 | 3044.52 | 3044.52 | 0 | 0 | 0 | 0 | 0
DISCONTINUED | ROCKWELL | 2711P-T6M20D8 |  | PANELVIEW PLUS 6 6 GRAYSCALE TOUCH DC | NOT AVAILABLE |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2076.84 | 4153.68 | 2076.84 | 0 | 0 | 0 | 0 | 2076.84 | 0
DISCONTINUED | ROCKWELL | 2711P-T7C4A8 |  | PANELVIEW PLUS TERMINAL | 2711P-T7C22A9P |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 7058.82 | 7058.82 | 7058.82 | 0 | 0 | 0 | 0 | 7058.82 | 0
DISCONTINUED | ROCKWELL | 2711P-T7C4D8 |  | PANELVIEW PLUS TERMINAL | 2711P-T7C22D9P |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 6479.08 | 12958.16 | 6479.08 | 0 | 0 | 0 | 0 | 6479.08 | 0
DISCONTINUED | ROCKWELL | 6186M-15PT |  | INDUSTRIAL MONITOR, PERFORMANCE | NOT AVAILABLE |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 5078.49 | 5078.49 | 5078.49 | 0 | 0 | 0 | 0 | 5078.49 | 0
|  |  |  | TOTALS: |  |  |  | 3099 | 259 | 162 | 26 | 0 | 0 | 163 | 92 |  | 6270780.53 | 1020019.67 | 593904.79 | 66277.29 | 0 | 0 | 646227.25 | 286389.66